## Instructions
RFP Instructions
1 | Enter answers to all questions in the "General Information" (blue) tab.
2 | The primary contact identified on the "General Information" tab should be the management contact within the Manufacturer's organization that recognizes the strategic partnering and procurement opportunity and is authorized to make and manage the commitments associated with this response.
3 | Enter information requested for all line items to which you are submitting product solutions in each product family category (green) tab(s). Within a given product family category, manufacturers should submit solutions for all worksheet line items in that product family category. Duplication of products submitted is suggested if a single manufacturer product meets the specifications of multiple worksheet line items.
4 | If a manufacturer has multiple product solutions (e.g. multiple brands/lines) for a given product family category, PIDC encourages manufacturers to submit all solutions that meet required specifications. The worksheet provides up to three manufacturer options for each product familly category
5 | All worksheet cells are protected from entry other than the yellow filled cells to be used for Manufacturer responses in all tabs. All yellow cells should be completed for each line item, and missed entries could impact a manufacturer’s RFP score.
6 | If yellow filled cells are pre-populated with the type of entry required (e.g. days, %, name), they should be overwritten with Manufacturer responses.
7 | The submitted worksheet must be in worksheet (.xls) format and include the manufacturer name in the file name.
Assumptions
1 | In order to obtain the best pricing for PIDC municipalities the following clarifications are provided:
a) Manufacturers should assume that all orders placed by PIDC distributor(s) will meet manufacturer minimum order requirements.
b) Manufacturers should assume that all orders placed by PIDC distributor(s) will meet manufacturer prepaid freight minimums. If freight charges apply, they can be added to the order.
2 | Any material returns will be for valid warranty repair/replacement claims or for a pre-authorized manufacturer return with defined re-stocking fees.
3 | All Manufacturer invoices to distributors must be line item priced and available to PIDC to confirm correct manufacturer negotiated prices are being utilized.

## General Information
Manufacturer General Information, Terms and Capabilities
Item | Question | Manufacturer Response
1 | Manufacturer Name? | Manufacturer Response
2 | Primary Contact Name? | Manufacturer Response
3 | Primary Contact Title? | Manufacturer Response
4 | Primary Contact Phone? | Manufacturer Response
5 | Primary Contact Email? | Manufacturer Response
6 | Minimum Order Amount ($) | Manufacturer Response
7 | Freight Prepaid Minimum Amount ($) | Manufacturer Response
8 | PIDC Distributor Payment Terms: Net Payment Days | Manufacturer Response
9 | PIDC Distributor Payment Terms: Discount % | Manufacturer Response
10 | PIDC Distributor Payment Terms: Discount Days | Manufacturer Response
11 | Years in Business? | Manufacturer Response
12 | Explain your company's standard warranty program (i.e. term and coverage scope)? | Manufacturer Response
13 | Availability of Extended Warranties for PIDC? | Manufacturer Response
14 | Explain your company's willingness to supply operational product samples for benchtop evaluation? | Manufacturer Response
15 | Explain your company's ability to support trial installations (e.g. "Try Before You Buy") for PIDC? | Manufacturer Response
16 | Willingness to offer similar pricing/discount levels for products not listed on this RFP? | Manufacturer Response
17 | How does your company communicate original and revised estimated ship dates to distributors? | Manufacturer Response
18 | How many days after an estimated ship date is created or changed do you send notification to the distributor? | Manufacturer Response
19 | Reference Project #1 - Project/Customer Name | Manufacturer Response
20 | Reference Project #1 - Description | Manufacturer Response
21 | Reference Project #1 - Type and Quantity of Fixtures | Manufacturer Response
22 | Reference Project #1 - Lighting Control Solution | Manufacturer Response
23 | Reference Project #2 - Project/Customer Name | Manufacturer Response
24 | Reference Project #2 - Description | Manufacturer Response
25 | Reference Project #2 - Type and Quantity of Fixtures | Manufacturer Response
26 | Reference Project #2 - Lighting Control Solution | Manufacturer Response
27 | Reference Project #3 - Project/Customer Name | Manufacturer Response
28 | Reference Project #3 - Description | Manufacturer Response
29 | Reference Project #3 - Type and Quantity of Fixtures | Manufacturer Response
30 | Reference Project #3 - Lighting Control Solution | Manufacturer Response
31 | Reference Project #4 - Project/Customer Name | Manufacturer Response
32 | Reference Project #4 - Description | Manufacturer Response
33 | Reference Project #4 - Type and Quantity of Fixtures | Manufacturer Response
34 | Reference Project #4 - Lighting Control Solution | Manufacturer Response
35 | Additional Information - Please provide any additional information that Respondent deems relevant to PIDC. If there are any limitations to meeting the expectations indicated in any of the RFP documents that should be described. Please limit response to 500 words or less. | Manufacturer Response

## Decorative Post-Top
Program Luminaire General Specifications and Minimum Requirements | [9 empty] | Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution
General Specifications | [9 empty] | Manufacturer Name and Part # |  | Construction, Certifications & Technical Specifications | [18 empty] | Lighting Performance | [19 empty] | Energy Consumption + Life/Depreciation | [8 empty] | Pricing | [12 empty] | Warranty, Market Presence & Availability
Generic Type Code | Luminaire Description | Existing LED Luminaire Standard & Pole | Estimated Quantity | Minimum Delivered Initial Lumen Package | BUG Uplight Rating | Driver Dimming Protocol | Required Surge Rating | Color | Minimum Warranty (Years) | Manufacturer Name | Manufacturer Part # | Housing Construction | Standard Available Colors | Accessibility to Internal Components (e.g. Tool-less) | Nominal Luminaire Weight (lbs) | Nominal Luminaire EPA (SF) | ANSI C136.10 Vibration Rating | Pole Fitter - Outside Diameter Acceptance (Inches) | Listings (List All) | IP Rating | Luminiare Ambient Temperature Range (Min) | Luminaire Ambient Temperature Range (Max) | DLC Certification Level | Available Driver Dimming Protocols (e.g. 0-10V, D4i) | Nominal Input Voltage Options | Driver Drive Current @ Full Light Output (mA) | Driver Total Harmonic Distortion | Driver Power Factor | Standard Surge Rating | Available Upgraded Surge Rating Options | Make/Model of LED Light Source(s) | Initial Delivered Lumens @ 25C | Initial Delivered Lumens @ 35C | BUG Rating: B (Backlight) | BUG Rating: U (Uplight) | BUG Rating: G (Glare) | Total Delivered Lumens within the Very High Angle (80-90%) Glare range | Lensing Options that reduce glare or source brightness. List and Describe. | Reduced Source Brightness Lens Option Part # (if available) | Reduced Source Brightness Lens Lumen Reduction % | Reduced Source Brightness Lens BUG Rating | House Side Shield Available (Y or N) | Available IES Distribution Types | CCT | CCT Variation (+ or -) | 2700K CCT Availability (Y or N) | 3000K CCT Availability (Y or N) | 3500K CCT Availability (Y or N) | 4000K CCT Availability (Y or N) | Color Rendering Index (CRI) | System Watts | IES LM-80 Test Duration (Hours) | Depreciation % @ 43,800 Hours | L70 Rated Life (TM-21 Calculated Hours, NOT Reported) | L80 Rated Life (TM-21 Calculated Hours, NOT Reported) | L90 Rated Life (TM-21 Calculated Hours, NOT Reported) | Driver Temperature Rating | Driver 90% Survival Rated Life (Hours) | Assumed Junction Temp C for Rated Life <<< | Base Luminaire or Kit Unit D/N Cost (include 3-1/2" pole adapter cost, if necessary) | Is the Base Luminaire or Kit Unit D/N Cost impacted by Tariffs? | If the Base Luminaire Unit D/N Cost is impacted by Tariffs, indicate portion of Unit D/N Cost ($) | Buy American Act (BAA) Luminaire Unit D/N Cost Adder | Build America Buy America Act (BABA) Luminaire Unit D/N Cost Adder | NEMA 7-Pin Receptacle (for NLC use) Part # | NEMA 7-Pin Receptacle (for NLC use) D/N Cost Adder | Photocell Tenon D/N Cost Adder | Reduced Source Brightness Lens D/N Cost Adder | House Side Shield D/N Cost Adder | Upgraded Surge D/N Cost Adder | Level 2 Vibration D/N Cost Adder | Addressable Driver D/N Cost Adder (e.g. D4i) | Standard Published Warranty (Years) | Maximum Extended Navy Yard Project Warranty @ No Cost Adder (Years) | Available Purchased Warranty Extension (Years) | Available Purchased Warranty Extension D/N Unit Cost | Time Sold in Market (Years) | Typical Lead Time (Weeks)
Decorative Post-Top Luminaire Replacement (on existing pole) - Closest Aesthetic Match to Existing Transitional Style
PT-9L-T5-3K | Decorative Post-Top Luminaire, 9,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 9000 | U0 | 0-10V | 10kA | Black | 5
PT-11L-T5-3K | Decorative Post-Top Luminaire, 11,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 11000 | U0 | 0-10V | 10kA | Black | 5
PT-13L-T5-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 13000 | U0 | 0-10V | 10kA | Black | 5
Decorative Post-Top Luminaire Light Engine Retrofit
RT-9L-T5-3K | Decorative Post-Top Luminaire Retrofit Kit, 9,000 Lumen, Type 5, 3000K, 14' Power Cord | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 185 | 9000 | U0 | 0-10V | 10kA | N/A | 5 |  |  | N/A |  |  |  | N/A | N/A | N/A | [15 empty] | N/A | N/A | N/A | [28 empty] | N/A | N/A | N/A |  |  |  | N/A
Decorative Post-Top Luminaire Control Retrofit (Selux Response Only)
RT-7P | NEMA 7-Pin Driver Cap Retrofit Kit for Selux SACL luminaires | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 192 | N/A | N/A | N/A | N/A | N/A | 5 | Selux |  |  |  | N/A |  | N/A | N/A | N/A |  |  |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Decorative Post-Top Luminaire Replacement (on existing pole) - Additional Transitional Style Alternatives - 9000, 11000 & 13000 Lumen Options
PT-9L-T5-3K | Decorative Post-Top Luminaire, 9,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 9000 | U0 | 0-10V | 10kA | Black | 5
PT-9L-T5-3K | Decorative Post-Top Luminaire, 9,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 9000 | U0 | 0-10V | 10kA | Black | 5
PT-9L-T5-3K | Decorative Post-Top Luminaire, 9,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 9000 | U0 | 0-10V | 10kA | Black | 5
PT-9L-T5-3K | Decorative Post-Top Luminaire, 9,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 9000 | U0 | 0-10V | 10kA | Black | 5
PT-9L-T5-3K | Decorative Post-Top Luminaire, 9,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 9000 | U0 | 0-10V | 10kA | Black | 5
PT-11L-T5-3K | Decorative Post-Top Luminaire, 11,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 11000 | U0 | 0-10V | 10kA | Black | 5
PT-11L-T5-3K | Decorative Post-Top Luminaire, 11,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 11000 | U0 | 0-10V | 10kA | Black | 5
PT-11L-T5-3K | Decorative Post-Top Luminaire, 11,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 11000 | U0 | 0-10V | 10kA | Black | 5
PT-11L-T5-3K | Decorative Post-Top Luminaire, 11,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 11000 | U0 | 0-10V | 10kA | Black | 5
PT-11L-T5-3K | Decorative Post-Top Luminaire, 11,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 11000 | U0 | 0-10V | 10kA | Black | 5
PT-13L-T5-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 13000 | U0 | 0-10V | 10kA | Black | 5
PT-13L-T5-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 13000 | U0 | 0-10V | 10kA | Black | 5
PT-13L-T5-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 13000 | U0 | 0-10V | 10kA | Black | 5
PT-13L-T5-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 13000 | U0 | 0-10V | 10kA | Black | 5
PT-13L-T5-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 5, 3000K, 14' Power Cord, Black Finish, Universal 120-277V, 3.5" Pole Fitter Base, No Photocell | Selux SACL-R5S-1-5G105-30-14-BK-UNV (Luminaire) Selux S635-12-BK (Pole) | 653 | 13000 | U0 | 0-10V | 10kA | Black | 5

## League Island & C. Green Park
Program Luminaire General Specifications and Minimum Requirements | [9 empty] | Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution
General Specifications | [9 empty] | Manufacturer Name and Part # |  | Construction, Certifications & Technical Specifications | [18 empty] | Lighting Performance | [19 empty] | Energy Consumption + Life/Depreciation | [8 empty] | Pricing | [12 empty] | Warranty, Market Presence & Availability
Generic Type Code | Luminaire Description | Existing Luminaire & Pole | Estimated Quantity | Minimum Delivered Initial Lumen Package | BUG Uplight Rating | Driver Dimming Protocol | Required Surge Rating | Color | Minimum Warranty (Years) | Manufacturer Name | Manufacturer Part # | Housing Construction | Standard Available Colors | Accessibility to Internal Components (e.g. Tool-less) | Nominal Luminaire Weight (lbs) | Nominal Luminaire EPA (SF) | ANSI C136.10 Vibration Rating | Pole Fitter - Outside Diameter Acceptance (Inches) | Listings (List All) | IP Rating | Luminiare Ambient Temperature Range (Min) | Luminaire Ambient Temperature Range (Max) | DLC Certification Level | Available Driver Dimming Protocols (e.g. 0-10V, D4i) | Nominal Input Voltage Options | Driver Drive Current @ Full Light Output (mA) | Driver Total Harmonic Distortion | Driver Power Factor | Standard Surge Rating | Available Upgraded Surge Rating Options | Make/Model of LED Light Source(s) | Initial Delivered Lumens @ 25C | Initial Delivered Lumens @ 35C | BUG Rating: B (Backlight) | BUG Rating: U (Uplight) | BUG Rating: G (Glare) | Total Delivered Lumens within the Very High Angle (80-90%) Glare range | Lensing Options that reduce glare or source brightness. List and Describe. | Reduced Source Brightness Lens Option Part # (if available) | Reduced Source Brightness Lens Lumen Reduction % | Reduced Source Brightness Lens BUG Rating | House Side Shield Available (Y or N) | Available IES Distribution Types | CCT | CCT Variation (+ or -) | 2700K CCT Availability (Y or N) | 3000K CCT Availability (Y or N) | 3500K CCT Availability (Y or N) | 4000K CCT Availability (Y or N) | Color Rendering Index (CRI) | System Watts | IES LM-80 Test Duration (Hours) | Depreciation % @ 43,800 Hours | L70 Rated Life (TM-21 Calculated Hours, NOT Reported) | L80 Rated Life (TM-21 Calculated Hours, NOT Reported) | L90 Rated Life (TM-21 Calculated Hours, NOT Reported) | Driver Temperature Rating | Driver 90% Survival Rated Life (Hours) | Assumed Junction Temp C for Rated Life <<< | Luminaire, Arm, Pole or Base Unit D/N Cost (include 3-1/2" pole adapter cost, if necessary) | Is the Luminaire, Arm, Pole or Base Unit D/N Cost impacted by Tariffs? | If the Luminaire, Arm, Pole or Base Unit D/N Cost is impacted by Tariffs, indicate portion of Unit D/N Cost ($) | Buy American Act (BAA) Luminiare, Arm, Pole or Base Unit D/N Cost Adder | Build America Buy America Act (BABA) Luminiare, Arm, Pole or Base Unit D/N Cost Adder | NEMA 7-Pin Receptacle (for NLC use) Part # | NEMA 7-Pin Receptacle (for NLC use) D/N Cost Adder | Photocell Tenon D/N Cost Adder | Reduced Source Brightness Lens D/N Cost Adder | House Side Shield D/N Cost Adder | Upgraded Surge D/N Cost Adder | Level 2 Vibration D/N Cost Adder | Addressable Driver D/N Cost Adder (e.g. D4i) | Standard Published Warranty (Years) | Maximum Extended Navy Yard Project Warranty @ No Cost Adder (Years) | Available Purchased Warranty Extension (Years) | Available Purchased Warranty Extension D/N Unit Cost | Time Sold in Market (Years) | Typical Lead Time (Weeks)
Decorative Pendant Luminaire Replacement (on existing pole) - Closest Aesthetic Match to Existing Transitional Style
PD-9L-T3-3K | Decorative Pendant Luminaire, 9,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 9000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-11L-T3-3K | Decorative Pendant Luminaire, 11,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 11000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-13L-T3-3K | Decorative Pendant Luminaire, 13,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 13000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-ARM-1.5 | Straight Arm, 1.5', Pale Grey | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | N/A | N/A | N/A | N/A | Pale Grey | 5 | [8 empty] | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Decorative Pendant Luminaire Replacement - Alternate Option #1
PD-9L-T3-3K | Decorative Pendant Luminaire, 9,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 9000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-11L-T3-3K | Decorative Pendant Luminaire, 11,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 11000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-13L-T3-3K | Decorative Pendant Luminaire, 13,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 13000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-ARM-1.5 | Straight Arm, 1.5', Pale Grey | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | N/A | N/A | N/A | N/A | Pale Grey | 5 | [8 empty] | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Decorative Pendant Luminaire Replacement - Alternate Option #2
PD-9L-T3-3K | Decorative Pendant Luminaire, 9,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 9000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-11L-T3-3K | Decorative Pendant Luminaire, 11,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 11000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-13L-T3-3K | Decorative Pendant Luminaire, 13,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | 13000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-ARM-1.5 | Straight Arm, 1.5', Pale Grey | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 27 | N/A | N/A | N/A | N/A | Pale Grey | 5 | [8 empty] | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Decorative Pendant Luminaire Replacement (with new pole) - Closest Aesthetic Match to Existing Transitional Style
PD-9L-T3-3K-POLE | Decorative Pendant Luminaire, 9,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish + New Pole, Base & Arm | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare & Pole Style | 6 | 9000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-11L-T3-3K-POLE | Decorative Pendant Luminaire, 11,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish + New Pole, Base & Arm | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare & Pole Style | 6 | 11000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-13L-T3-3K-POLE | Decorative Pendant Luminaire, 13,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish + New Pole, Base & Arm | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare & Pole Style | 6 | 13000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-ARM-1.5 | Straight Arm, 1.5', Pale Grey | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare Style | 6 | N/A | N/A | N/A | N/A | Pale Grey | 5 | [8 empty] | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
PD-POLE-14.5 | 4 ” Diameter Muffler Pole, Aluminum, 14.5', Pale Grey Pole | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare & Pole Style | 6 | N/A | N/A | N/A | N/A | Pale Grey | 5 | [8 empty] | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
PD-BASE | Aluminum Base | See Pre-Response Meeting Presentation for League Island Park Existing Luminiare & Pole Style | 6 | N/A | N/A | N/A | N/A | Pale Grey | 5 | [8 empty] | N/A |  |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | [5 empty] | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Crescent Park
Program Fixture General Specifications and Minimum Requirements | [9 empty] | Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution
General Specifications | [9 empty] | Manufacturer Name and Part # |  | Construction, Certifications & Technical Specifications | [18 empty] | Lighting Performance | [19 empty] | Energy Consumption + Life/Depreciation | [8 empty] | Pricing | [12 empty] | Warranty, Market Presence & Availability
Generic Type Code | Fixture Description | Existing Luminaire & Pole | Estimated Quantity | Minimum Delivered Initial Lumen Package | BUG Uplight Rating | Driver Dimming Protocol | Required Surge Rating | Color | Minimum Warranty (Years) | Manufacturer Name | Manufacturer Part # | Housing Construction | Standard Available Colors | Accessibility to Internal Components (e.g. Tool-less) | Nominal Luminaire Weight (lbs) | Nominal Luminaire EPA (SF) | ANSI C136.10 Vibration Rating | Pole Fitter - Outside Diameter Acceptance (Inches) | Listings (List All) | IP Rating | Luminiare Ambient Temperature Range (Min) | Luminaire Ambient Temperature Range (Max) | DLC Certification Level | Available Driver Dimming Protocols (e.g. 0-10V, D4i) | Nominal Input Voltage Options | Driver Drive Current @ Full Light Output (mA) | Driver Total Harmonic Distortion | Driver Power Factor | Standard Surge Rating | Available Upgraded Surge Rating Options | Make/Model of LED Light Source(s) | Initial Delivered Lumens @ 25C | Initial Delivered Lumens @ 35C | BUG Rating: B (Backlight) | BUG Rating: U (Uplight) | BUG Rating: G (Glare) | Total Delivered Lumens within the Very High Angle (80-90%) Glare range | Lensing Options that reduce glare or source brightness. List and Describe. | Reduced Source Brightness Lens Option Part # (if available) | Reduced Source Brightness Lens Lumen Reduction % | Reduced Source Brightness Lens BUG Rating | House Side Shield Available (Y or N) | Available IES Distribution Types | CCT | CCT Variation (+ or -) | 2700K CCT Availability (Y or N) | 3000K CCT Availability (Y or N) | 3500K CCT Availability (Y or N) | 4000K CCT Availability (Y or N) | Color Rendering Index (CRI) | System Watts | IES LM-80 Test Duration (Hours) | Depreciation % @ 43,800 Hours | L70 Rated Life (TM-21 Calculated Hours, NOT Reported) | L80 Rated Life (TM-21 Calculated Hours, NOT Reported) | L90 Rated Life (TM-21 Calculated Hours, NOT Reported) | Driver Temperature Rating | Driver 90% Survival Rated Life (Hours) | Assumed Junction Temp C for Rated Life <<< | Base Luminaire Unit D/N Cost (include 3-1/2" pole adapter cost, if necessary) | Is the Base Luminaire Unit D/N Cost impacted by Tariffs? | If the Base Luminaire Unit D/N Cost is impacted by Tariffs, indicate portion of Unit D/N Cost ($) | Buy American Act (BAA) Luminaire Unit D/N Cost Adder | Build America Buy America Act (BABA) Luminaire Unit D/N Cost Adder | NEMA 7-Pin Receptacle (for NLC use) Part # | NEMA 7-Pin Receptacle (for NLC use) D/N Cost Adder | Photocell Tenon D/N Cost Adder | Reduced Source Brightness Lens D/N Cost Adder | House Side Shield D/N Cost Adder | Upgraded Surge D/N Cost Adder | Level 2 Vibration D/N Cost Adder | Addressable Driver D/N Cost Adder (e.g. D4i) | Standard Published Warranty (Years) | Maximum Extended Navy Yard Project Warranty @ No Cost Adder (Years) | Available Purchased Warranty Extension (Years) | Available Purchased Warranty Extension D/N Unit Cost | Time Sold in Market (Years) | Typical Lead Time (Weeks)
Decorative Post-Top Luminaire Replacement (on existing pole) - Closest Aesthetic Match to Existing Transitional Style
PT-10L-T3-3K | Decorative Post-Top Luminaire, 10,000 Lumen, Type 5, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for Crescent Park Existing Luminiare Style | 21 | 10000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-13L-T3-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for Crescent Park Existing Luminiare Style | 21 | 13000 | U0 | 0-10V | 10kA | Pale Grey | 5
Decorative Post-Top Luminaire Replacement - Alternate Option #1
PT-10L-T3-3K | Decorative Post-Top Luminaire, 10,000 Lumen, Type 5, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for Crescent Park Existing Luminiare Style | 21 | 10000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-13L-T3-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for Crescent Park Existing Luminiare Style | 21 | 13000 | U0 | 0-10V | 10kA | Pale Grey | 5
Decorative Post-Top Luminaire Replacement - Alternate Option #2
PT-10L-T3-3K | Decorative Post-Top Luminaire, 10,000 Lumen, Type 5, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for Crescent Park Existing Luminiare Style | 21 | 10000 | U0 | 0-10V | 10kA | Pale Grey | 5
PD-13L-T3-3K | Decorative Post-Top Luminaire, 13,000 Lumen, Type 3, 3000K, No Lens, Universal 120-277V, No Photocell, Pale Grey Finish, Side Mount Adapter | See Pre-Response Meeting Presentation for Crescent Park Existing Luminiare Style | 21 | 13000 | U0 | 0-10V | 10kA | Pale Grey | 5
Wall Luminaire Replacement (on existing structure) - Closest Aesthetic Match to Existing Transitional Style
WL-5L-T4-3K | Structure Mounted Wall Luminaire, 5,000 Lumen, Type 4, 3000K, Universal 120-277V, No Photocell, Pale Grey Finish | See Pre-Response Meeting Presentation for Crescent Park Existing Luminiare Style | 12 | 5000 | U0 | 0-10V | 10kA | Pale Grey | 5
WL-7L-T4-3K | Structure Mounted Wall Luminaire, 7,000 Lumen, Type 4, 3000K, Universal 120-277V, No Photocell, Pale Grey Finish | See Pre-Response Meeting Presentation for Crescent Park Existing Luminiare Style | 12 | 7000 | U0 | 0-10V | 10kA | Pale Grey | 5

## Cobrahead Street & Area
Program Luminaire General Specifications and Minimum Requirements | [10 empty] | Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution Manufacturer Submitted Solution
General Specifications |  |  |  | Minimum Requirements | [6 empty] | Manufacturer Name and Part # |  | Construction, Certifications & Technical Specifications | [22 empty] | Lighting Performance | [24 empty] | Energy Consumption + Life/Depreciation | [8 empty] | Pricing | [19 empty] | Warranty, Market Presence & Availability
Generic Type Code | Luminaire Description | Estimated Quantity | Delivered Initial Lumen Package Range (+ or - 20%) | Minimum IES Distribution Type Availability | BUG Uplight Rating | Minimum IP Rating | Driver Dimming Protocol | Minimum Required Surge Rating | Required Vibration Rating | Minimum Warranty (Years) | Manufacturer Name | Manufacturer Part # | Housing Construction | Standard Available Colors | Accessibility to Internal Components (e.g. Tool-less) | Nominal Luminaire Weight (lbs) | Nominal Luminaire EPA (SF) | ANSI C136.10 Vibration Rating | Tenon Nominal Pipe Size (Inches) | Head Tilt Adjustment Range (degrees) | Listings (List All) | IP Rating | Luminaire Ambient Temperature Range (Min) | Luminaire Ambient Temperature Range (Max) | DLC Certification Level | PennDOT Approved (Bulletin 15) | If not PennDOT Approved (Bulletin 15), was product previously renewed and denied? | If not PennDOT Approved (Bulletin 15), willingness to submit for approval? | Driver Dimming Protocol (e.g. 0-10V) | Nominal Input Voltage Options | Driver Drive Current @ Full Light Output (mA) | Driver Total Harmonic Distortion | Driver Power Factor | Standard Surge Rating | Available Upgraded Surge Rating Options | Make/Model of LED Light Source(s) | Initial Delivered Lumens @ 25C | Initial Delivered Lumens @ 35C | BUG Rating: B (Backlight) | BUG Rating: U (Uplight) | BUG Rating: G (Glare) | Total Delivered Lumens within the Very High Angle (80-90%) Glare range | Lensing Options that reduce glare or source brightness. List and Describe. | Reduced Source Brightness Lens Option Part # (if available) | Reduced Source Brightness Lens Lumen Reduction % | Reduced Source Brightness Lens BUG Rating | House Side Shield Available (Y or N) | Side Shield Available (Y or N) | Road Side Shield Available (Y or N) | Combined House and Side Shield Available (Y or N) | 360-degree Very High Angle (VHA) Glare Shield Available (Y or N) | Available IES Distribution Types | Availability of Field Adjustable Wattage Selector | CCT | CCT Variation (+ or -) | 2700K CCT Availability (Y or N) | 3000K CCT Availability (Y or N) | 3500K CCT Availability (Y or N) | 4000K CCT Availability (Y or N) | Color Rendering Index (CRI) | System Watts | IES LM-80 Test Duration (Hours) | Depreciation % @ 43,800 Hours | L70 Rated Life (TM-21 Calculated Hours, NOT Reported) | L80 Rated Life (TM-21 Calculated Hours, NOT Reported) | L90 Rated Life (TM-21 Calculated Hours, NOT Reported) | Driver Temperature Rating | Driver 90% Survival Rated Life (Hours) | Assumed Junction Temp C for Rated Life <<< | Base Luminaire Unit D/N Cost | Is the Base Luminaire or Kit Unit D/N Cost impacted by Tariffs? | If the Base Luminaire Unit D/N Cost is impacted by Tariffs, indicate portion of Unit D/N Cost ($) | Buy American Act (BAA) Luminaire Unit D/N Cost Adder | Build America Buy America Act (BABA) Luminaire Unit D/N Cost Adder | NEMA 7-Pin Receptacle (Top of Luminaire) D/N Cost Adder | Photocell D/N Cost Adder | Zhaga Receptacle (Bottom of Luminaire) D/N Cost Adder | Field Adjustable Wattage Selector D/N Cost Adder | Integrated Motion Sensor D/N Cost Adder | House Side Shield D/N Cost Adder | Side Shield D/N Cost Adder | Road Side Shield D/N Cost Adder | Combined House and Side Shield D/N Cost Adder | High Angle Glare Cutoff Shield D/N Cost Adder | Standard Universal Arm for Square or Round Pole (Painted to Match Luminaire) D/N Cost Adder | Decorative Arm for Square or Round Pole (Painted to Match Luminaire) D/N Cost Adder | Upgraded Surge D/N Cost Adder | Level 2 Vibration D/N Cost Adder | Addressable Driver D/N Cost Adder (e.g. D4i) | Standard Published Warranty (Years) | Maximum Extended Navy Yard Project Warranty @ No Cost Adder (Years) | Available Purchased Warranty Extension (Years) | Available Purchased Warranty Extension D/N Unit Cost | Time Sold in Market (Years) | Typical Lead Time (Weeks)
Manufacturer Product Category - Family Option #1
CHS-4L-T2-4K | Cobrahead, 4,000 Lumen, Type 2, 3000K, NEMA 3-Pin, NEMA 5-Pin | 215 | 4000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-5L-T2-4K | Cobrahead, 5,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 5000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-8L-T2-4K | Cobrahead, 8,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 8000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-10L-T2-4K | Cobrahead, 10,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 10000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-16L-T2-4K | Cobrahead, 16,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 16000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-20L-T2-4K | Cobrahead, 20,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 20000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-24L-T2-4K | Cobrahead, 24,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 24000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-28L-T2-4K | Cobrahead, 28,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 28000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
Manufacturer Product Category - Alternate Option #1
CHS-4L-T2-4K | Cobrahead, 4,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 4000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-5L-T2-4K | Cobrahead, 5,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 5000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-8L-T2-4K | Cobrahead, 8,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 8000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-10L-T2-4K | Cobrahead, 10,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 10000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-16L-T2-4K | Cobrahead, 16,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 16000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-20L-T2-4K | Cobrahead, 20,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 20000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-24L-T2-4K | Cobrahead, 24,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 24000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-28L-T2-4K | Cobrahead, 28,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 28000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
Manufacturer Product Category - Alternate Option #2
CHS-4L-T2-4K | Cobrahead, 4,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 4000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-5L-T2-4K | Cobrahead, 5,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 5000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-8L-T2-4K | Cobrahead, 8,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 8000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-10L-T2-4K | Cobrahead, 10,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 10000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-16L-T2-4K | Cobrahead, 16,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 16000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-20L-T2-4K | Cobrahead, 20,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 20000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-24L-T2-4K | Cobrahead, 24,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 24000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5
CHS-28L-T2-4K | Cobrahead, 28,000 Lumen, Type 2, 3000K, NEMA 3-Pin | 215 | 28000 | 2,3,4,5 | U0 | IP66 | 0-10V | 10 kV | ANSI C136.31 - Level 1 | 5

## Network Control System
General Specifications |  |  | Manfacturer Solution |  |  | Node Construction, Certifications & Technical Specifications | [60 empty] | Warranty, Market Presence & Availability | [6 empty] | Purchase Price
Generic Type Code | Photocell Description | Estimated NLC Quantity | Manufacturer Name | Manufacturer Control System Name | Manufacturer NLC Part # | NLC ANSI Standard(s) | NLC Country of Manufacturer | NLC Modem | Cat1 and CatM Communication Options | NLC Regulatory Listings (UL) | NLC Housing/Cover Construction | NLC Height (Inches) | NLC Diameter (Inches) | NLC Window Construction | NLC Gasket Construction & Rating | NLC Water Ingress Protection (NEMA & IP Rating) | NLC Photosensor Type | NLC Photosensor Artificial Light Threshold (nanometer) | NLC Photosensor 10-Year Drift % | NLC Min Operating Temperature (C) | NLC Max Operating Temperature (C) | NLC 3' Drop Tolerance on Concrete Floor | NLC Multi-volt rated range (@ 50/60 Hz) | NLC Dielectric Strength | NLC Load Rating - Electronic LED Driver | NLC Life On/Off Operations (at full load) | NLC Instant On? | NLC Turn-On FC? | NLC Turn-On FC Variation (+/-) | NLC Turn-Off FC | NLC Turn-Off Delay (seconds) | NLC Turn Off to On Ratio | NLC Fail Mode | NLC Power Consumption (watts @ 277 VAC) | NLC Universal Voltage Range | NLC Switch Relay Rating (Amp) | NLC Approach to Relay Protection from In-Rush Current (e.g. Triac Assist, Zero Cross, etc.) | NLC Surge Protection Level (ANSI 136.2 - kV/kA) | NLC MOV Protection (Joule Rating) | NLC MOV Minimum Peak Current Rating (kA) | Network Communication Architecture & Protocol (e.g. Cellular) | Supported Cellular Protocols (e.g. LTE) | NLC Dimming Protocol Compatibility (e.g. 0-10V, D4i) | NLC Dimming Protocol Autosensing (Y or N) | NLC NEMA Pin Requirement | Maximum NLCs Per LMS | Software Term Length | NLC Metering Accuracy | NLC Self-Commissioning Upon Install | NLC Baseline Tilt Identified During Commissioning | NLC Active GPS | Automated Reporting - Luminaire Outage Notification | Automated Reporting - Luminaire Last Gasp | NLC Last Gasp Hold-up Capacitance (seconds) | Automated Reporting - Luminaire Dayburner Notification | Automated Reporting - Luminaire Flickering Notification | Automated Reporting - Utility High/Low Voltage Notification (Load Side) | Automated Reporting - NLC Tilt Notification | NLC Tilt Technology (e.g. Accelerometer) | Automated Reporting - NLC No Communication Notification | Automated Reporting - Utility Outage (Line Side) | Automated Reporting - Utility High/Low Voltage Notification (Line Side) | Real-Time Fixture Light Output Control | Dimming Schedules/Profiles by Group | LMS Work Order Management System | Explain Additional Features that impact performance or system capabilities | NLC Minimum Expected Life (Years) | NLC Standard Published Warranty (Years) | NLC Extended RSLPP Warranty @ No Cost Adder (Years) | NLC Available Purchased Warranty Extension (Years) | NLC Available Purchased Warranty Extension Cost | Time System Sold in Market (Years) | NLC Typical Lead Time (Weeks) | NLC Unit D/N Cost | Is the NLC Unit D/N Cost impacted by Tariffs? | If the NLC Unit D/N Cost is impacted by Tariffs, indicate portion of unit cost ($) | Buy American Act (BAA) NLC Unit D/N Cost Adder | Build America Buy America Act (BABA) NLC Unit D/N Cost Adder | Annual SAAS/License Unit D/N Cost | Annual Cellular Communication Unit D/N Cost | Annual Management Services Unit D/N Cost | Annual Other Unit D/N Cost | Pricing Comments or Clarifications
Networked Lighting Management System
NLCS-STD | Cellular-Based Lighting Management System (LMS) with Standard (> 2.6" H) Network Lighting Controller (NLC) | 1264
NLCS-LP | Cellular-Based Lighting Management System (LMS) with Low Profile (< 2.6" H) Network Lighting Controller (NLC) | 1264

## Photocell
General Specifications |  |  | Manfacturer Solution |  | Construction, Certifications & Technical Specifications | [32 empty] | Warranty, Market Presence & Availability | [6 empty] | Purchase Price
Generic Type Code | Photocell Description | RSLPP Round 2 Estimated Quantity | Manufacturer Name | Manufacturer Part # | Meet latest revision of ANSI C136.10? | Country of Manufacturer | Regulatory Listings (UL) | Housing/Cover Construction | Window Construction | Gasket Construction & Rating | Water Ingress Protection (NEMA & IP Rating) | Photosensor Type | Photosensor Artificial Light Threshold (nanometer) | Photosensor 10-Year Drift % | Min Operating Temperature (C) | Max Operating Temperature (C) | 3' Drop Tolerance on Concrete Floor | Multi-volt rated range (@ 50/60 Hz) | Dielectric Strength | Load Rating - Electronic LED Driver | Life On/Off Operations (at full load) | Instant On? | Turn-On FC? | Turn-On FC Variation (+/-) | Turn-Off FC | Turn-Off Delay (seconds) | Turn Off to On Ratio | Fail Mode | Power Consumption (watts @ 277 VAC) | Relay Rating (Amp) | Approach to Relay Protection from In-Rush Current (e.g. Triac Assist, Zero Cross, etc.) | Surge Protection Level (ANSI 136.2 - kV/kA) | MOV Protection (Joule Rating) | MOV Minimum Peak Current Rating (kA) | Field-Selectable Dimming Schedules - Method of Selection (e.g. dip switch) | Field-Selectable Dimming Schedules - Quanity of Pre-Defined Dimming Schedules | Explain Additional Features that impact performance and life | Component Minimum Expected Life (Years) | Standard Published Warranty (Years) | Extended Navy Yard Project Warranty @ No Cost Adder (Years) | Available Purchased Warranty Extension (Years) | Available Purchased Warranty Extension Cost | Time Sold in Market (Years) | Typical Lead Time (Weeks) | Unit D/N Cost | Buy American Act (BAA) Unit D/N Cost Adder | Build America Buy America Act (BABA) Unit D/N Cost Adder
Manufacturer Option #1
PC | Long Life Locking Type Electronic Photocontrol for LED Fixtures (No UL Listing) | 1264 | [32 empty] | N/A | N/A
PC-UL | Long Life Locking Type Electronic Photocontrol for LED Fixtures (UL Listing) | Possible alternate to above Type PC | [32 empty] | N/A | N/A
PC-DIM | Long Life Locking Type Electronic Photocontrol for LED Fixtures (No UL Listing) with Field Adjustable Pre-Defined Dimming Schedules | Possible alternate to above Type PC
PC-UL-DIM | Long Life Locking Type Electronic Photocontrol for LED Fixtures (UL Listing) with Field Adjustable Pre-Defined Dimming Schedules | Possible alternate to above Type PC
Manufacturer Option #2
PC | Long Life Locking Type Electronic Photocontrol for LED Fixtures (No UL Listing) | 1264 | [32 empty] | N/A | N/A
PC-UL | Long Life Locking Type Electronic Photocontrol for LED Fixtures (UL Listing) | Possible alternate to above Type PC | [32 empty] | N/A | N/A
PC-DIM | Long Life Locking Type Electronic Photocontrol for LED Fixtures (No UL Listing) with Field Adjustable Pre-Defined Dimming Schedules | Possible alternate to above Type PC
PC-UL-DIM | Long Life Locking Type Electronic Photocontrol for LED Fixtures (UL Listing) with Field Adjustable Pre-Defined Dimming Schedules | Possible alternate to above Type PC
Manufacturer Option #3
PC | Long Life Locking Type Electronic Photocontrol for LED Fixtures (No UL Listing) | 1264 | [32 empty] | N/A | N/A
PC-UL | Long Life Locking Type Electronic Photocontrol for LED Fixtures (UL Listing) | Possible alternate to above Type PC | [32 empty] | N/A | N/A
PC-DIM | Long Life Locking Type Electronic Photocontrol for LED Fixtures (No UL Listing) with Field Adjustable Pre-Defined Dimming Schedules | Possible alternate to above Type PC
PC-UL-DIM | Long Life Locking Type Electronic Photocontrol for LED Fixtures (UL Listing) with Field Adjustable Pre-Defined Dimming Schedules | Possible alternate to above Type PC